## BOM List
Category | Sub Category | Item Code | Final Item | Raw Item Name | Quantity | Stock | UOM
Canopy | Canopy | FBC-0001 | 15 KVA DG Set | 02_554_01_WELD_NUT_M10 | 140 | 6000 | Nos
Canopy | Canopy | FBC-0002 | 15 KVA DG Set | 02_554_02_WELD_NUT_M8 | 420 | 60000 | Nos
Canopy | Canopy | FBC-0003 | 15 KVA DG Set | 02_554_05_WELD_NUT_M6 | 270 | 40000 | Nos
Canopy | Canopy | FBC-0004 | 15 KVA DG Set | 02_554_11_WELD_NUT_M5 | 115.5 | 0 | Nos
Fuel Tank | Fuel Tank | FBF-0013 | 15 KVA DG Set | HANDLE ROUND BAR 6 DIA, 250MM (DRAW.NO. 02.629.03.00) | 20 | 0 | Nos
Fuel Tank | Fuel Tank | FBF-0010 | 15 KVA DG Set | FLANGE FOR FUEL SPOUT (DRAW. NO. 02.752.44.0.00) | 10 | 646 | Nos
Fuel Tank | Fuel Tank | FBF-0012 | 15 KVA DG Set | FLANGE FOR FUEL TANK UNIT (DRAW.NO. 02.752.47.0.PR) | 10 | 0 | Nos
Fuel Tank | Fuel Tank | FBB-0013 | 15 KVA DG Set | BUSH FOR FUEL DRAIN IN FUEL TANK ( M 18 X 1.5 X 30 OD ) (DRAW.NO. 6H.055.07.0.00) | 10 | 300 | Nos
Fuel Tank | Fuel Tank | FBF-0002 | 15 KVA DG Set | ADAPTER FOR AIR BREATHER ON FUEL TANK (DARW.NO. D3.345.19.0.00) | 10 | 20 | Nos
Exhaust System | Exhaust System | FBS-0005 | 15 KVA DG Set | EXHAUST BEND (DRAW. NO. 3H.518.23.0.00) | 10 | 65 | Nos
Acoustic Treatment | Acoustic Treatment | FBA-0004 | 15 KVA DG Set | FIBER TISSUE PAPER (GSM 50) | 30 | 3900 | Sq. Meter
Acoustic Treatment | Acoustic Treatment | FBA-0005 | 15 KVA DG Set | GI PERFORATED SHEET(0.5X1000X1800MM) | 10 | 860 | Nos
Acoustic Treatment | Acoustic Treatment | FBA-0007 | 15 KVA DG Set | AL. SHEET 4X0.5MM FOR CLADDING | 1.4 | 350 | Sq. Meter
Acoustic Treatment | Acoustic Treatment | FBA-0006 | 15 KVA DG Set | SELF TAPPING SCREW 8 X 13MM | 900 | 140000 | Nos
Assembly | Assembly | FBG-0045 | 15 KVA DG Set | PLAIN GASKET (2MM X 20 MM) | 120 | 0 | Meter
Assembly | Assembly | FBG-0032 | 15 KVA DG Set | DOOR GASKET (18 MM) | 100 | 0 | Meter
Assembly | Assembly | FBG-0033 | 15 KVA DG Set | GLASS GASKET WITH GLASS LOCK (25 MM) | 10 | 190 | Meter
Assembly | Assembly | FBG-0022 | 15 KVA DG Set | BOLT M8 X 20 (8.8 GRADE) | 380 | 20000 | Nos
Assembly | Assembly | FBG-0012 | 15 KVA DG Set | BOLT M10 X 20 (8.8 GRADE) | 250 | 13100 | Nos
Assembly | Assembly | FBG-0021 | 15 KVA DG Set | BOLT M6 X 16 (SS) | 350 | 19000 | Nos
Assembly | Assembly | FBG-0064 | 15 KVA DG Set | SUNK HEAD SCREW 6 X 16 (BLACK PASSIVATED) | 60 | 9500 | Nos
Assembly | Assembly | FBG-0052 | 15 KVA DG Set | PLAIN WASHER M8 | 960 | 33000 | Nos
Assembly | Assembly | FBG-0058 | 15 KVA DG Set | SPRING WASER 8 MM | 800 | 120000 | Nos
Assembly | Assembly | FBG-0050 | 15 KVA DG Set | PLAIN WASHER M6 (8.8 GRADE) | 300 | 40000 | Nos
Assembly | Assembly | FBG-0051 | 15 KVA DG Set | PLAIN WASHER M6 (SS) | 350 | 20000 | Nos
Assembly | Assembly | FBG-0062 | 15 KVA DG Set | SPRING WASHER M6 (SS) | 350 | 20000 | Nos
Assembly | Assembly | FBG-0055 | 15 KVA DG Set | SCREW 6 X 13MM | 700 | 4000 | Nos
Assembly | Assembly | FBG-0037 | 15 KVA DG Set | NUT 8 MM (8.8 GRADE) | 500 | 40000 | Nos
Assembly | Assembly | FBG-0042 | 15 KVA DG Set | NUT M6 (SS) | 700 | 20000 | Nos
Assembly | Assembly | FBG-0018 | 15 KVA DG Set | BOLT M5 X 20 (8.8 GRADE) | 40 | 5000 | Nos
Assembly | Assembly | FBG-0024 | 15 KVA DG Set | BOLT M8 X 25 (8.8 GRADE) | 40 | 15000 | Nos
Assembly | Assembly | FBG-0058 | 15 KVA DG Set | SPRING WASER 8 MM | 120 | 120000 | Nos
Assembly | Assembly | FBG-0037 | 15 KVA DG Set | NUT 8 MM (8.8 GRADE) | 80 | 40000 | Nos
Assembly | Assembly | FBG-0001 | 15 KVA DG Set | ACRYLIC SHEET | 0.54 | 480 | Sq. Meter
DG Type | L1 | FDG-0033 | 15 KVA DG Set | ENGINE 3R550TC 4G1 (GP3.8501) | 10 | 0 | Nos
DG Type | L1 | FDG-0021 | 15 KVA DG Set | BATTERY 65 AH | 10 | 0 | Nos
DG Type | L1 | FDG-0025 | 15 KVA DG Set | COOLANT | 42 | 4100 | Litres
DG Type | L1 | FDG-0026 | 15 KVA DG Set | DIESEL TESTING | 100 | 600 | Litres
Alternator | 1 Phase | FDG-0006 | 15 KVA DG Set | ALTERNATOR (GP3.901.61.0.PR) | 10 | 0 | Nos
Electrical | Electrical | FBE-0009 | 15 KVA DG Set | WIRE 1 SQMM | 120 | 13400 | Meter
Electrical | Electrical | FBE-0004 | 15 KVA DG Set | HOOTER 12 VOLT | 10 | 50 | Nos
Electrical | Electrical | FBE-0008 | 15 KVA DG Set | LED TUBE LIGHT 12V | 20 | 460 | Nos
Electrical | Electrical | FBE-0006 | 15 KVA DG Set | PVC CONDUIT PIPE 10 MM | 50 | 3100 | Meter
Electrical | Electrical | FBE-0001 | 15 KVA DG Set | CONNECTOR (2-PIN) | 10 | 900 | Nos
Electrical | Electrical | FBE-0002 | 15 KVA DG Set | EMERGENCY STOP | 10 | 135 | Nos
Panel | 3 Phase AMF | FBT-0003 | 15 KVA DG Set | AMF PANEL (15KVA) | 10 | 0 | Nos
Panel | 3 Phase AMF | FBT-0047 | 15 KVA DG Set | TERMINAL BOX (15KVA) | 10 | 0 | Nos
Final Packing | Final Packing | FBP-0004 | 15 KVA DG Set | ENVELOPE BAG | 10 | 200 | Nos
Final Packing | Final Packing | FBP-0005 | 15 KVA DG Set | KEY RING | 10 | 200 | Nos
Final Packing | Final Packing | FBP-0007 | 15 KVA DG Set | SERIAL NO. NAME PLATE-GREEN | 10 | 260 | Nos
Final Packing | Final Packing | FBP-0006 | 15 KVA DG Set | SEALANT | 20 | 60 | Nos
Final Packing | Final Packing | FBP-0008 | 15 KVA DG Set | SHRINK WRAP | 5 | 50 | Roll
Final Packing | Final Packing | FBP-0012 | 15 KVA DG Set | TOUCH UP PAINT (GREEN) | 10 | 25 | Nos
Final Packing | Final Packing | FBP-0013 | 15 KVA DG Set | TOUCH UP PAINT GREY | 10 | 320 | Nos
Final Packing | Final Packing | FBP-0003 | 15 KVA DG Set | CPCB4+ COMPLAINT STICKER | 30 | 500 | Nos
Final Packing | Final Packing | FBP-0001 | 15 KVA DG Set | ACCESSORIES EP FOAM 150X150X40 | 40 | 599 | Pcs
Final Packing | Final Packing | FBP-0002 | 15 KVA DG Set | ACCESSORIES EP FOAM 400X270X40 | 20 | 700 | Pcs
Final Packing | Final Packing | FBP-0009 | 15 KVA DG Set | STICKERS "CAUTION" | 10 | 800 | Nos
Final Packing | Final Packing | FBP-0010 | 15 KVA DG Set | STICKERS "FUEL TANK CAPCITY" | 10 | 600 | Nos
Final Packing | Final Packing | FBP-0011 | 15 KVA DG Set | STICKERS "MANUFATURED BY" - 190.5 MM X 35 MM | 10 | 320 | Nos
Electrical | Electrical | FBE-0003 | 15 KVA DG Set | END CAP 10 MM | 40 | 2159 | Nos
Electrical | Electrical | FBE-0007 | 15 KVA DG Set | T-JOINT 10 MM | 40 | 1600 | Nos
Base Frame | Suitable for 1 Phase | FBC-0001 | 15 KVA DG Set | 02_554_01_WELD_NUT_M10 | 80 | 6000 | Nos
Base Frame | Suitable for 1 Phase | FBC-0002 | 15 KVA DG Set | 02_554_02_WELD_NUT_M8 | 140 | 60000 | Nos
Base Frame | Suitable for 1 Phase | FBC-0004 | 15 KVA DG Set | 02_554_11_WELD_NUT_M5 | 40 | 0 | Nos
Base Frame | Suitable for 1 Phase | FBB-0011 | 15 KVA DG Set | BATTERY BRACKET STUD M8X1.25,255MM LENGTH (DRAW.NO. 2H.228.02.0.00) | 20 | 1500 | Nos
Base Frame | Suitable for 1 Phase | FBB-0026 | 15 KVA DG Set | PIPE (OD 25.4MMX40MM LENGTH X1.5 THICK) (DRAW.NO. 4H.1285.33.0.01) | 20 | 0 | Nos
Base Frame | Suitable for 1 Phase | FBB-0024 | 15 KVA DG Set | PAD FOR ALTERNATOR SUPPORT M12X1.75 DIA 25X15MM (DRAW.NO. 2H.225.15.0.00) | 20 | 0 | Nos